OPTIONS for high-speed roll-up door, type „EFA-SRT-L Value ®“:

Cover of the winding shaft/motor:

complete covering over motor and shaft

Surface:

Powder coating of all galvanised steel parts in a colour according to RAL __________

(metallic colours not possible)

or

stainless steel version (V2A) of all visible steel parts, visible surface polished, coarseness 220,

incl. switch cabinet made of V2A, e.g. for wet operations

Alternative safety device:

Surcharge for door system with electrical, self-monitoring safety contact edge at the end shield instead of the pre-running light barrier

If necessary:

Automatic interim stop at a height of H = ___________ mm

Curtain options:

Surcharge for transparent window made of fully transparent PVC

or

PVC-curtain made of approx. 2 mm fully transparent Material with warning stripes
Colors: red, orange, blue, yellow

or

polyester fibre 2.0 mm thick, transversely stable, FDA approved

red / orange / yellow: non-antistatic, silicone free

blue / moss green / pure white / papyrus white / light grey / signal grey / anthracite grey: antistatic, silicone-free,

as above, but

with transparent window made of fully transparent PVC

(in the case of door curtain with window only partly antistatic and partly

approved for the food industry)